**Tender terms & Conditions for Consultancy for renovation works on office building located at #6 Victoria Avenue, Port of Spain, Trinidad, West Indies**

**A. Statement of Objective**

The Government of India represented by the High Commission of India owns the mentioned property locate at #6 Victoria Avenue, Port of Spain, Trinidad, West Indies. The property consist of a two story building with office space on each floor.

The High Commission of India propose to:

1. Perform a full site evaluation of the property & existing building structures.
2. Renovation of existing building structures & services.
3. Carry out all major repairs to structures & services without hindering the daily functions of office.

**B. Scope of Works**

1. Survey of the main building, main gate, approach and immediate surroundings of the building. Preparation of site plan, dimensional structural and architectural drawings based on site measurements and available drawings in hard copy and soft copy.
2. Preparation of survey and test report for the details of the structure, civil works, woodwork, fittings, fixtures, finishes and all services (water supply, drainage, sewerage, electrical, air conditioning etc.) in the building complex with recommendations for repair, addition and rectification. This report should include following items:

 (i) Location of the defect / damage, type of defect / damage like settlement / cracks / spalling / bulging / signs of seepage / rotting of wood, rusting of reinforcements etc.

 (ii) Extent and severity of the defects.

 (iii) Cause / source of defects.

 (iv) Carrying out structural condition survey and stability analysis of the existing building.

 (v) Specification of the repair / renovation and additional construction works including the method statement and the material specifications and working drawings.

3. Preparation of layout plans for the optimum utilization of ground and upper floors in conformity with client's requirements, norms, etc. Preparation of modified drawings after discussion with client if required, for getting client's approval.

4. Preparation of architectural drawings, structural drawings (as required) for the approved layout plans. Preparation of mechanical, electrical, plumbing and sewerage drawings for the approved layout plans, if required.

5. Preparation of complete set of drawings and documents for seeking approval of local approving authority, etc., make applications and conduct meetings/negotiations for obtaining required approvals from local authorities as required.

6. Preparation of drawings and specifications (as required) for entire repair work including the following:

 a. Repair of brickwork and mortar including repair of cracks, plastering and finishing, where required, painting of internal and external walls and ceilings of the main building, stairs, basement areas, sidewalks and boundary wall, additional constructions, if any.

 b. Roof repairs including seepage treatment, where necessary. The methodology of roof treatment should include provision for drainage, water proofing and thermal insulation.

 c. Repair and improvement of main entrance area and improvement of the building facades. Preparation of specification for painting for all metal parts like iron gates, walls, grilles, railings, etc.

 d. Repair/replacement of wooden members where required, polishing and painting of doors, windows, wooden frames, wooden rafters, wooden paneling, flooring, shades, handrails and any other wooden parts.

 e. Repair and replacement of water supply system and installations.

 f. Repair and replacement of defective slopes and drainage pipes from all internal areas (walls and floors) and external areas (like roofs, terraces, porch, sidewalk, open area around buildings, basement) with proper finishes, slope, outlets and pipe work.

 g. Replacement of electrical wiring for the building, porch and exterior lighting with standard, durable, concealed conduit wiring.

 h. Provision of air conditioning installations, connections, ducting, inlets, outlets, etc. with items of standard, durable make, efficient design and easy use and maintenance.

7. All material specifications should be of standard, durable make, permissible in heritage buildings, easy to use, maintain and replace in future.

8. All new installations and connections for electrical, mechanical (heating and air conditioning) and water supply, drainage, sewerage, water treatment plant, etc. should be of standard, durable make, suitable efficient design, easy to use, maintain and replace in future.

9. The above scope is indicative in nature and not limiting or exhaustive in extent. Consultant will list the defects and damages detected during survey and prepare a proposal for inclusion in consultation with Mission.

10. Preparation of detailed drawings, detailed cost estimates and a detailed program of work – PERT/CPM/Bar charts.

11. The Consultant shall prepare tender documents as per the guidelines of the Ministry / Government of India. The Consultant shall assist Mission in processing of tender and finalization of contract. The selection of the Contractor shall be done through tendering. The entire scope of work will be executed through separate contract.

12. During the execution of work, Consultant shall supervise the work in respect of quality, specifications and shall certify the running bills and final bills of the Contractor for payment by the Mission to the Contractor.

13. The responsibility of the Consultant shall be preparation of drawings, specifications, approval of local authorities where required, preparation of tender documents, processing of tender, supervision of execution, certification of execution, obtaining completion/occupation certificate from local authorities, processing of handing over and supervision of rectification of defects during defects notification period after execution of work.

14. Any other works / activity which is required to complete the proposed work.

15. The Consultant shall, in consultation with the mission, prepare a Time Schedule in respect of the various services to be rendered. The Consultant shall also advise the Mission on the program of work, i.e., PERT / CPM / Bar Charts of the services to be rendered by the contractor/s on the said project. While preparing the time schedule the Consultant would take all necessary precautions, so that there is no time and cost overrun of the project.

16. Inspect and identify defects prior to the expiry of Defect Liability Period, warranty claim; advise corrective measures and get the rectification of all defects through concerned contractor/s thereof to full satisfaction of the Employer and issue a certificate of final Completion of work after rectifying all the defects to the satisfaction of the Mission.

**C. Consultancy services required**

 Architect consultants with experience in restoration and renovation of buildings are required for undertaking detailed survey to check the status of various parts of the premises, prepare drawings to indicate the location and type of defects / damages, propose design solutions and layout plans for utilization of the building, prepare drawings and estimates, prepare and submit drawings and documents for local body approvals if required, propose solutions for repair and / or replacement of the defects, damages in electrical, mechanical (air conditioning), water supply, drainage, sewerage, insulation systems in keeping with the approved utilization plans, restoration of finishes in interior and exterior of the premises, improvement of façade and functionality, specifications for material and methodology, tendering, supervision and site management.

**D. Payment terms and conditions**

 The payment shall be made in following stages based on percentage of fixed price lump sum contract amount of Consultancy work.

1. Advance payment of 10% shall be granted against bank guarantee.

2. 20% payment shall be made on submission of survey report, architectural drawings and structural assessment report.

3. 10% payment shall be made on submission of detailed drawings and detailed estimate of the work.

4. 10% payment shall be made on submission of tender documents.

5. 5% payment shall be made on approval of tender documents.

6. 5% payment shall be made on selection of Contractor.

7. 10% payment shall be made on 25% of the financial progress of the execution of work.

8. 10% payment shall be made on 50% of the financial progress of the execution of work.

9. 10% payment shall be made on 90% of the financial progress of the execution of work.

10. 5% payment shall be made on the completion of the execution of work.

11. Balance payment shall be made on completion of defects notification period of the work.

**E. General terms and conditions**

1. Consultant shall have his own transportation, office, computer and telephone facilities. Mission shall not pay or reimburse for any such requirements.

2. Consultant may appoint other sub consultants for specialized work at his own cost and convenience. No payments will be reimbursed for them by Mission.

3. Consultant shall coordinate with Mission and Contractor for completion of the work.

4. Consultant shall obtain professional liability insurance or any other insurance for his workmen and workmanship as may be required at his own cost.

5. The quoted price should include all taxes such as VAT, service tax, professional tax, etc.

6. Price escalation in rates due to any reason such as increase in prices of material, equipment & labour, fuel (petrol, diesel, gas, etc.) electricity & water, levy of new taxes, hike in any tax rates, cess or due to delay in completion etc. shall not be applicable.

7. Consultant shall not be permitted to participate in bidding for this work i.e., Consultant cannot become contractor for this work.